## Slide 1: QA Prisma 3T
Chan Hong Moon, Don Hyuk Kim
MRRC, UPMC
@2024-08-09

## Slide 2: Experiments
Sequence
  Localizer
  EPI_P2_S2_2mm_5min
Experiment1
  P1 phantom
    Scan @P1, P2, P3
  P1 64ch coil
Experiment2
  Each scanner phantom & coil

## Slide 3: Exp1: phantom positioning

## Slide 4: Exp1: Phantom positioning
Gray/yellow/blue = P1/P2/P3

## Slide 6
3
5
3
6
STEP 1
STEP 1
0. 64ch H/N coil
1. Siemens bullet phantom
2. Open coil upper cap
3. Touch phantom vertex to coil
4. Laser marker
5. Parallel align phant & laser
6. Adjust base formpad for alignment
STEP 2
7. Close the coil cap
8. Laser marker at coil horiz center
9. Coil axis & laser MAY NOY centered
10. Off laser marker
11. Set table to magnet center
STEP 2
8
9